## Slide 1: Indoor air quality assessment during lockdowns and improvement strategies for the residential houses in rural areas in Kazakhstan
Nurlan Otesh ID:201569201
Supervisor: Prof. Ferhat Karaca
Co-Supervisor: Prof. Mert Guney

## Slide 2: Thesis Defense Outline
Introduction
Methodology
IAQ Benchmark
I/O air pollutants relationship
CO2 behavior at cooking process
Heating systems and Thermal comfort
Effect of heating system on CO2
Conclusion

## Slide 3: Sampling and Monitoring
Material Usage
Figure 1. PM meter, CO2 meter, Thermal camera

## Slide 4: Sampling and Monitoring
Study Area
Figure 2. Geolocation of Mayatas and Shornak
Mayatas (Toleby audany, 40km away from Shymkent) – 4 houses
Shornak (Turkestan audany, 30km away from Turkestan) – 3 houses

## Slide 5: Sampling and Monitoring
Study Area
Figure 3. Geolocation of monitored houses in Mayatas and Shornak respectively

## Slide 6: Sampling and Monitoring
Mayatas village
Figure 4. Monitored houses in Mayatas (House number 1 and 3)

## Slide 7: Sampling and Monitoring
Mayatas village
Figure 5. Cooking time photos in Mayatas

## Slide 8: Sampling and Monitoring
Monitoring procedure
Figure 6. House – 5, Data collection process
Attach the sensors properly
Prepare the room for monitoring
Fill out the questionnaire
5 min will stay at rest
Data recorded every 2 min
The duration of monitoring a 1 hour
Kitchen room and outdoor monitored

## Slide 9: Sampling and Monitoring
Data collection
Figure 7. Data recorded on Excel
Pollutants | Allowable | Unacceptable
PM2.5 | 15 ppb | 
PM10 | 50 ppb | 
CO2 | 1000 ppm | 5000 ppm
HCOH | 0.27 mg/m3 | -
Humidity | 20-50% | 50-100%
Temperature (Heating seasons) | 21.8 – 30 Celsius | Below 21.8 Celcius Higher 30 Celcius

## Slide 10: Sampling and Monitoring
Table 1. Wall materials and building characteristic
House | Wall structure material | Insulation material | Kitchen room connection
1 | Straw blocks | No | Direct connection with corridor
2 | Burnt bricks | Styrofoam | Isolated by a wooden door
3 | Burnt bricks | Styrofoam | Isolated by a wooden door
4 | Straw blocks | No | Direct connection with living room
5 | Cinder blocks | Styrofoam | Isolated by a wooden door
6 | Straw blocks | No | Direct connection with outdoor door
7 | Straw blocks | No | Isolated by a wooden door

## Slide 11: Sampling and Monitoring
The layout of rooms
Figure 8. The layout of Houses 1 and 2, respectively

## Slide 12: IAQ Benchmark
Figure 9. Collected data and IAQ Benchmark for house-1

## Slide 13: I/O ratio for air pollutants
Table 2. The I/O ratio value of air pollutants

## Slide 14: I/O ratio for air pollutants
Figure 10. PM2.5 I/O index in the kitchen room (before/during/after cooking)

## Slide 15: I/O ratio for air pollutants
Figure 11. CO2 I/O index in the kitchen room (before/during/after cooking)

## Slide 16
Figure 12. CO2 trend at the cooking process
CO2 behavior at cooking process

## Slide 17: CO2 behavior at cooking process
Table 3. CO2 emission rate accordance to various parameters
House № | 1 | 2 | 3 | 4 | 5 | 6 | 7
CO2 trend % | 604 | 350.36 | 379.82 | 344.16 | 425.36 | 371.78 | 548.45
Meal type | Main Course | Soup | Main course | Main course | Main course | Soup | Main course
Kitchen area (m2) | 8.75 | 9 | 12 | 18 | 15 | 10 | 6
Kitchen volume (m3) | 21.875 | 24.3 | 36 | 48.6 | 45 | 28 | 15
People in kitchen | 3 | 2 | 2 | 3 | 2 | 2 | 2
Duration | 47 | 40 | 48 | 60 | 54 | 60 | 35
2nd Stove duration | 22 | - | - | - | 33 | - | 24
3rd Stove duration | 12 | - | - | - | - | - | -
Tefal | - | - | - | 7 | - | - | 8
Cooking style | Firing in oil | Boiling the water | Firing in oil | Firing in oil | Firing in oil | Boiling the water | Heating and firing
Meat (gramm) | 321 | 232 | 344 | 327 | 176 | 251 | -
Oil | 150 | 30-50 | 50-80 | 150 | 150 | 80-100 | 100
Water | 300 | 1500 | 300 | 600 | 1750 | 750 | -
Condition of cap | Open | Closed | Closed | Closed | Open | Closed | Open

## Slide 18: Thermal Photos
Figure 13. Thermal photos of the cooking process at the stove

## Slide 19: Thermal Photos
Figure 14. Thermal photos of heating systems

## Slide 20: Heating system effect on CO2
Figure 15. Carbon Dioxide (ppm) level in the kitchen room for both studies
 | House-1 | House-2 | House-3 | House-4 | House-5 | House-6 | House-7
Pilot Study (CO2 ppm) | 694,4 | 576,8 | 783 | 821 | 583,6 | 1350,7 | 711,1
Final Study (CO2 ppm) | 851 | 826 | 889,7 | 942 | 694 | 1148 | 743
Difference in % | 22,5% | 43,20% | 11,99% | 14,74% | 18,92% | -15,01% | 4,49%

## Slide 21: Conclusion
Living Style
Ventilation System
Heating system usage
Building design and materials
House-7

## Slide 22: Reference List
Aiaj Pillariseti, Ellison Carter, et al. 2019. “Measuring personal exposure to fine particulate matter (PM2.5) among rural Honduran women: A field evaluation of the Ultrasonic Personal Aerosol Sampler (UPAS)”. Environmental International 123 (2019) 50-53
Aiaj Pillariseti, Ellison Carter, et al. 2019. “Measuring personal exposure to fine particulate matter (PM2.5) among rural Honduran women: A field evaluation of the Ultrasonic Personal Aerosol Sampler (UPAS)”. Environmental International 123 (2019) 50-53
Baumgartner, J., Clark, S., Carter, E., Lai, A., Zhang, Y., Shan, M., ... & Yang, X. (2019). Effectiveness of a household energy package in improving indoor air quality and reducing personal exposures in rural China. Environmental science & technology, 53(15), 9306-9316.
Begum, B. A., Paul, S. K., Hossain, M. D., Biswas, S. K., & Hopke, P. K. (2009). Indoor air pollution from particulate matter emissions in different households in rural areas of Bangladesh. Building and Environment, 44(5), 898-903.
Błaszczyk E. et al. Indoor air quality in urban and rural kindergartens: short-term studies in Silesia, Poland //Air Quality, Atmosphere & Health. – 2017. – Т. 10. – №. 10. – С. 1207-1220.
Błaszczyk E. et al. Indoor air quality in urban and rural kindergartens: short-term studies in Silesia, Poland //Air Quality, Atmosphere & Health. – 2017. – Т. 10. – №. 10. – С. 1207-1220.
Błaszczyk, E., Rogula-Kozłowska, W., Klejnowski, K., Kubiesa, P., Fulara, I., & Mielżyńska-Švach, D. (2017). Indoor air quality in urban and rural kindergartens: short-term studies in Silesia, Poland. Air Quality, Atmosphere & Health, 10(10), 1207-1220.
Branco, P. T. B. S., Alvim-Ferraz, M. C. M., Martins, F. G., & Sousa, S. I. V. (2014). Indoor air quality in urban nurseries at Porto city: Particulate matter assessment. Atmospheric environment, 84, 133-143.
Brown, S. K. (1997). Indoor air quality. Environment Australia.
Chen, B. H., Hong, C. J., Pandey, M. R., & Smith, K. R. (1990). Indoor air pollution in developing countries. World health statistics quarterly 1990; 43 (3): 127-138.
Cincinelli, A., & Martellini, T. (2017). Indoor air quality and health.
Colbeck, I., Nasir, Z. A., & Ali, Z. (2010). The state of indoor air quality in Pakistan—a review. Environmental Science and Pollution Research, 17(6), 1187-1196.
Daniela, D’Alessandro, Marco Gola, Appolloni Letizia, Dettori Marco, Gaetano Maria Fara, Andrea Rebecchi, Settimo Gaetano, and Stefano Capolongo. "COVID-19 and Living Spaces challenge. Well-being and Public Health recommendations for a healthy, safe, and sustainable housing." (2020): 1-15. https://re.public.polimi.it/retrieve/handle/11311/1142203/533524/2020_Covid19%20vs%20abitazioni.pdf
Daniela, D’Alessandro, Marco Gola, Appolloni Letizia, Dettori Marco, Gaetano Maria Fara, Andrea Rebecchi, Settimo Gaetano, and Stefano Capolongo. "COVID-19 and Living Spaces challenge. Well-being and Public Health recommendations for a healthy, safe, and sustainable housing." (2020): 1-15. https://re.public.polimi.it/retrieve/handle/11311/1142203/533524/2020_Covid19%20vs%20abitazioni.pdf
Dasgupta, S. (2004). Indoor air quality for poor families: new evidence from Bangladesh (Vol. 3393). World Bank Publications.
Dasgupta, S., Huq, M., Khaliquzzaman, M., & Wheeler, D. (2007). Improving indoor air quality for poor families: a controlled experiment in Bangladesh.
de la Sota, C., Lumbreras, J., Pérez, N., Ealo, M., Kane, M., Youm, I., & Viana, M. (2018). Indoor air pollution from biomass cookstoves in rural Senegal. Energy for Sustainable Development, 43, 224-234.
Fromme, H., Twardella, D., Dietrich, S., Heitmann, D., Schierl, R., Liebl, B., & Rüden, H. (2007). Particulate matter in the indoor air of classrooms—exploratory results from Munich and surrounding area. Atmospheric Environment, 41(4), 854-866.
Gautam, S. K., Suresh, R., Sharma, V. P., & Sehgal, M. (2013). Indoor air quality in the rural India. Management of Environmental Quality: An International Journal.
Hulin, M., Caillaud, D., & Annesi‐Maesano, I. (2010). Indoor air pollution and childhood asthma: variations between urban and rural areas. Indoor air, 20(6), 502-514.
John Volckness, Charles Henry, et al. 2016. “Development and Evaluation of an “Ultrasonic Personal Aerosol Sampler (UPAS)”. DOI: 10.1111/ina.12318
Kerimray et al (2020). Journal of the Air & Waste Management Association, https://doi.org/10.1080/10962247.2020.1813837
Kim, K. H., Pandey, S. K., Kabir, E., Susaya, J., & Brown, R. J. (2011). The modern paradox of unregulated cooking activities and indoor air quality. Journal of Hazardous materials, 195, 1-10.
Lee, S. C., & Chang, M. (2000). Indoor and outdoor air quality investigation at schools in Hong Kong. Chemosphere, 41(1-2), 109-113.
Masera, O., Edwards, R., Arnez, C. A., Berrueta, V., Johnson, M., Bracho, L. R., ... & Smith, K. R. (2007). Impact of Patsari improved cookstoves on indoor air quality in Michoacán, Mexico. Energy for Sustainable Development, 11(2), 45-56.
Mohd Nor Rawi, N. A., Jalaludin, J., & Chua, P. C. (2015). Indoor air quality and respiratory health among Malay preschool children in Selangor. BioMed research international, 2015.
Mukkannawar, U., Kumar, R., & Ojha, A. (2014). Indoor air quality in rural residential area-Pune case study. Int J Curr Microbiol App Sci, 3(11), 683-694.
Mulenga, D., & Siziya, S. (2019). Indoor air pollution related respiratory ill health, a sequel of biomass use. SciMedicine Journal, 1(1), 30-37.
Nazaroff, W. W. (2013). Exploring the consequences of climate change for indoor air quality. Environmental Research Letters, 8(1), 015022.
Nima Afshar-Mohajer, Rebecca Foos. 2020. “Field Evaluation of the Ultrasonic Personal Aerosol Sampler (UPAS) for Respirable Dust Exposure in a Taconite Mine”. DOI: 10.1093/annweh/wxaa094
Nima Afshar-Mohajer, Rebecca Foos. 2020. “Field Evaluation of the Ultrasonic Personal Aerosol Sampler (UPAS) for Respirable Dust Exposure in a Taconite Mine”. DOI: 10.1093/annweh/wxaa094
Oguntoke, O., Opeolu, B. O., & Babatunde, N. (2010). Indoor air pollution and health risks among rural dwellers in Odeda area, South-Western Nigeria. Ethiopian Journal of Environmental Studies and Management, 3(2).
Parajuli, I., Lee, H., & Shrestha, K. R. (2016). Indoor air quality and ventilation assessment of rural mountainous households of Nepal. International journal of sustainable built environment, 5(2), 301-311.
Pinheiro, Manuel Duarte, and Nuno Cardoso Luís. "“COVID-19 could leverage a sustainable built environment." .” Sustainability 12, no. 14 (2020): 5863. https://www.mdpi.com/2071-1050/12/14/5863/htm
Pinheiro, Manuel Duarte, and Nuno Cardoso Luís. "“COVID-19 could leverage a sustainable built environment." .” Sustainability 12, no. 14 (2020): 5863. https://www.mdpi.com/2071-1050/12/14/5863/htm
Saini J., Dutta M., Marques G. A comprehensive review on indoor air quality monitoring systems for enhanced public health //Sustainable Environment Research. – 2020. – Т. 30. – №. 1. – С. 1-12.
Saini J., Dutta M., Marques G. A comprehensive review on indoor air quality monitoring systems for enhanced public health //Sustainable Environment Research. – 2020. – Т. 30. – №. 1. – С. 1-12.
UNECE. 2019. “ENVIRONMENTAL PERFORMANCE REVIEWS - KAZAKHSTAN”. Third review.
Vanessa J, Ricardo Piedrahita, et al. 2019. “Comparison of next-generation portable pollution monitors to measure exposure to PM2.5 from household air pollution in Puno, Peru”. DOI: 10.1111/ina.12638
Vanessa J, Ricardo Piedrahita, et al. 2019. “Comparison of next-generation portable pollution monitors to measure exposure to PM2.5 from household air pollution in Puno, Peru”. DOI: 10.1111/ina.12638
Wagdi, D. (2015). Effect of building materials on indoor air quality in residential buildings in Egypt: A pre occupancy assessment.
Wang, Z., Xie, D., Tang, R., & Sheng, X. (2014). Investigation on indoor air quality at rural houses in winter in severe cold region. In Proceedings of the 8th International Symposium on Heating, Ventilation and Air Conditioning (pp. 69-75). Springer, Berlin, Heidelberg.
Xiang, R. B., Song, J. B., Zhu, Y., & Guang, W. (2016). Indoor air quality in kitchens in rural China. Environmental Engineering Science, 33(9), 699-704.
Zhang, X., Chen, B., & Fan, X. (2015). Different fuel types and heating approaches impact on the indoor air quality of rural houses in Northern China. Procedia Engineering, 121, 493-500.

## Slide 23: THANK YOU FOR YOUR ATTENTION