## Slide 1
Gurleen Kaur Matharu Anuraag Saxena

## Slide 2
Total Area of the Site : 3.1 Hectares
Function of Site : Residential Building Cluster
Total Number of Residential towers : 12
Total Number of Flats : 332
Total Area for Residential Function : 30500 Sqm
Flats Type : 2 and 3 Bedrooms
Special Building Service Facilities : Centrally Cooled and heated.
Type of Renewables Technologies used : Solar, wind , Geothermal and Rainwater Harvesting
N
Location- Astana
51.1667° N, 71.4333° E
THE ARALIAS- Eye of Astana
Concept
Key Design Elements
Site Specifications

## Slide 3
Typical Floor Plans
2 bedroom Total Floor Area – 370sqm
3 bedroom Total Floor Area- 390sqm
Entry to the building from ground floor
Exit from the basement
Entry to the Basement
Piazza/Shopping Complex
Apartments
Basement Parking
Ground Level
Central park is covered with tensile vault roof to resist the extreme climatic conditions. It acts as a enclosed breathing space and it connected with the underground piazza
Underground Piazza- the connector

## Slide 4
The staggered arrangement of the building blocks was kept such to ensure maximum amount of daylight reaching the core areas of the building. With the above Ecotect models we can see that 50-60% of the daylight is reaching the interiors.
Daylighting
Wind Effect on the topmost level of the Turbine Placement
Wind Effect on the middle level of the Turbine Placement
Wind Effect on the lower level of the Turbine Placement
CFD Analysis
Rain water harvesting
Each Apartment unit requires 85,900L annually , a major portion of which would be catered by the rain-water harvesting (RWH) system.
Passive and Active Strategies

## Slide 5
SITE SAFETY PROVISIONS
MATERIALS OF CONSTRUCTION
Materials Considered for calculation through ISOVER designer v 3.5
Wall and the floor slab
Roof
Window
Saint-Gobain Climatop LUX triple glazed windows
Ufloor = 0.11W/m-K
Uroof = 0.11W/m-K
Uwin = 0.73W/m-K
Floor Slab
Uwall = 0.18W/m-K
External Wall
Uwall = 0.14W/m-K
Alternative Construction that may be employed
INTEGRATED WITH PHASE CHANGE MATERIAL(PCM)
Basement Smoke Extraction
Staircase Pressurization
Usage of Fire-rated Insulation Materials
Assembly Area in case of fire
Uslab = 0.11W/m-K

## Slide 6
Basis of Operation
The underfloor heating has all kinds of advantages over the radiator heating except the rate of heating a space.
Building Space Heating
Basis of Operation
Each outdoor module can be connected to 35 indoor units.
Using Diversity effectively
VRF+GT
40-50% Energy savings over conventional DX systems
Space Ventilation with Heat Recovery – up to 90% efficient
System Designed for 1ACPH to ensure space CO2 concentrations below 1000ppm
Central Toilet Exhaust Fan for each riser
Building Ventilation
Wind Energy Calculation: 14.7MWH
Required GSHP cooling and heating Energy Calculation:
Annual Heating Demand(ISOVER DESIGNER) = 375MWH
Annual Energy Required For Cooling = 450 MWH
Solar Energy Calculation: 87MWH
Renewable Energy Systems
Building Space Cooling